## Sheet1
Name of Equipment | Course Code | Course Title | Model | Specs | Make | Qty. | Price | GST | NCRC Reference
PC system | BM-311 | Biomedical Instrumentation I | HP | For Data Acquisition ¦HP Core i3, Intel Motherboard, DVD Drive, RAM 2GB, HDD 500G, HP LCD, HP Keyboard,HP Mouse |  | 2 |  |  | p.80-81
NI Elvis | BM311/313/213 |  | Elvis III | Description: Latest NI Elvis with integrated instrumnetation and I/O control |  | 2 |  |  |  | Each lab
|  |  |  | Oscilloscope; 4ch, 400 MS/s, 14 bits | [5 empty] | Projector
|  |  |  | Function Generator; 2 ch, 100 MS/s, 15 MHz, 14 bits | [5 empty] | White board
Logical Analyzer/Pattern Generator; 16 ch, 100 MS/s
IV Analyzer; ± 10 V, ± 30 mA, 15 MHz
Digital Multimeter; 4 1/2 digits
Variable Power supply; ± 15 V^2, 500 mA
Processor FPGA; Xilinx Zynq-7020
AI/AO; 16 ch, 16 bits/4 ch, 16 bits
DIO; 40 ch
SFP Support; Windows, Mac, Web
Programming Language Support; Labview, Python, C, Simulink
|  |  |  | Enclosure; Metal, NI compass silver | [6 empty] | Biosensor & Bioelectronics Lab
Potentionstat | BM-311 | Biomedical Instrumentation II | Biologic VSP 300 | Compliance: ±12 V |  | 1 |  |  |  |  | Course Code | Course Title | Column1
|  |  |  | Control voltage: ±10 V | [6 empty] | BM-311 | Biomedical Instrumentation I | p.80-81
|  |  |  | EIS measurement: up to 7 MHz | [6 empty] | BM-313 | Biomedical Instrumentation II | p.90-91
|  |  |  | Current ranges: 1 A to 10 nA (standard), | [6 empty] | BM-314 | Biomedical Control System
|  |  |  | up to 40 A with boosters, | [6 empty] | BM-213 | Biomedical Electronics
down to 1 pA with
ultra low current (ULC) option
Current resolution: 760 fA (standard),
down to 76 aA with ULC
Floating mode
Analog filtering
Calibration board
Full stability control mode (9 bandwidths)